## Slide 1: DiStefano Request for Dimensional Waiver
Prepared by Phil McDuffie 02Aug 2022

## Slide 2: Timeline Of Events
Boynton property sold to DiStefano on 2/18/2020
Distefano subdivides property into two parcels 1/25/2022
Certified mail sent to abutting property owners 2/14/2022 indicates proposed septic and water well restrictions will overshadow adjacent properties (McDuffie/Boynton-Stover/Weitzel)
“Building Permit” Submitted to town office on 3/30/2022
    No Building Plan was submitted
    ANR Septic Plan Approval Letter (dated 3/30/2022) was submitted
    ANR Septic Site Plan was not submitted
Building Permit Granted on 4/6/2022, Effective on 4/20/2022
Setback violation (approx. 25 feet) was discovered on or before morning of 7/6/2022
ZA visited site on morning of 7/6/2022
Foundation was poured during late afternoon on 7/6/2022

## Slide 3: Where Do I Fit Into This?
Upon receipt of the Certified Letter, I visited the proposed building on 2/16/2022
  I left with a strong impression that the site isn’t suitable for building on. Getting out of the car, I felt like I was standing at the top of a gorge. Wheeler Brook is at the bottom of the site and is approximately 50 feet below Wheeler Road.
  My major concerns
    Slope of the property is very steep and poses runoff threat
    Wheeler Brook is at the bottom of the building site, and I consider it as an ecologically sensitive area
I reported my concerns to the Planning Commissioner (PC), the ZA, and a lister who works in the office with the ZA.
  PC and Lister visited the site
  Lister wrote an email sharing his concerns
  PC gave me the name of a contact with ANR
I proceeded to contact officials at ANR to learn about the process of Septic Plan Approval and share my concerns over the suitability of the site for development

## Slide 4: Lister’s impression of building site
From Email sent by lister on 2/17/2022 to me, the PC, and the ZA
  Phil and Ellen sent me the septic preliminary design for the Distefano proposed house site. Some concerns are the closeness of the building to the property line of John Boynton. The steepness of the land and the proximity to the brook. The line indicated as "septic isolation field" appears to include sections of the brook? I am amused that the brooks location is not indicated on the septic site plan? I am going to make a site visit today to eyeball the survey stakes and take a few photos, My initial reaction is to review the site and engage in a discussion concerning alternatives.
To my knowledge I was the only one who responded to that email

## Slide 5: The ANR Rabbit Hole
Using the ANR contact that the PC sent to me, I proceeded to spend over a week calling a sizable group of individuals in an effort to learn about the approval process, and hopefully speak to the individual who would examine and approve the septic plan.
I found that individual, and in the process, I came up with the following impressions that I related in an email to the PC, Lister, and ZA on 2/25/2022
The site plan will be reviewed for conformance to the W/WW “stay-out” zones that have been stipulated by ANR. The site plan is not reviewed in terms of runoff potential, or for the potential of long-term environmental impact outside of the W/WW system.
Impact to the aesthetics of the location around the site, or “common sense” suitability of the proposed location for the building(s) are not reviewed by ANR. In other words, ANR will only approve or deny the plan based on conformance of the W/WW design to ANR requirements.
Actual site visits by the ANR engineer are very rare these days, due to staffing shortages and the fact that most of the staff are working from home.
The designer of the site plan is responsible for evaluating the potential for storm-runoff during construction and must address it in the plan if he or she determines that the construction site meets the ANR criteria for invoking a stormwater management plan. If so, the plan designer must obtain a permit from the Storm Water Management office of the ANR.
Jeff said he will keep an eye out for the site plan in question, and assured me he will review it with due diligence for conformance to the W/WW design requirements.
So, I must say I’m disappointed with what I’ve found out. In effect, the ANR does not have the jurisdiction to approve or deny a building plan based common “common sense” suitability, or environmental impact sensitivity. I believe John was the one who told me that in recent years they are seeing “more and more” submitted site plans, that in previous years would have never been submitted, but that’s because the “easier” locations have already been taken. John did say that in situations like this, the only recourse is rely on the town’s zoning regulations, for the town is the entity that has the final say in the approval of a building permit.
On 3/30/2022, ANR approved the septic plan, and I then assumed the town would follow normal procedure in granting a Building Permit (i.e. inspect the site plan for conformance to Windham Zoning regulations

## Slide 6: Fast Forward to 7/6/2022
I am informed that the foundation on the site is in violation of the setback requirements with respect to Wheeler Road, and possibly the Boynton-Stover property
I proceed to analyze the approved ANR site plan (a building site plan had never been submitted to the town office)
  My findings verified the setback violation (foundation was approximately 41 from center of Wheeler Road), requirement is 65 feet
  The ANR site plan appears to show the house in the location that it currently sits at (i.e. the plan submitted to ANR shows the foundation is in violation of the setback requirement)
  Revised analysis estimates setback from Boynton-Stover property at approximately 16 feet, requirement is 25 feet
  Further analysis shows the slope of the site (grade) exceeds the 20% limit specified in Windham’s zoning regulations, and should have been considered as an unacceptable location for building a home

## Slide 7: So Where is this Property?

## Slide 8
The Big Picture
Contour Map Provided by
Frank Seawright
Wheeler Brook Drains a huge area of land, and the brook wanders throughout the flood plane depending on rate of rainfall

## Slide 9
Where is Wheeler Brook?
Well, it flows throughout the flood plane depending on rainfall
Last June (2021), The entire flood plain was under water and the culvert downstream washed out
Note that water flows in the direction of the arrow (perpendicular to contour lines)
Contour Map by FS
Contour Spacing: 1 ft

## Slide 10
So, what is the slope going across this property?
From the property pin to the flood plane (which is the high-water mark of the brook) the average grade is approximately 30%
Windham Zoning Regulations prohibit development on slopes of 20% or greater
(Section 207)

## Slide 11
Even the slope going across the primary leach field is calculated at 20%

## Slide 12: Concluding Remarks
I feel like the town zoning office, as well as the owner/builder of the property made serious mistakes that skirted the intent of the zoning regulations, and has resulted in a foundation being poured after a zoning violation was observed by the ZA.
  No building site plan was submitted to the ZA for review to conformance to Windham Zoning Regulations (In spite of Item 7 on the Zoning Permit Application)

## Slide 13: Concluding Remarks (continued)
Building Permit was approved without reviewing any site plan, including the ANR Septic Plan
Foundation was poured after the ZA became aware of the setback violation, hence, if a stop-work order was issued prior to the foundation being poured, the owner did so at his own risk
Despite the setback violations, the grade on this building site greatly exceeds Windham zoning regulations
A grade limit of 20% is important to adhere to, especially considering that this property is immediately above Wheeler Brook and its flood plane.

## Slide 14
Finally, I respectfully ask the Zoning Board of Adjustment to consider the criteria specified for dimensional waivers. I don’t believe this request meets Item 3, Item 4b, 4d, and 4e. I also think the board should consider whether Item 5 is applicable.